## CTD_Arrangement
SBE 9plus CTD Sensor Configuration
SKQ202312S - Distributed Biological Observatory-Ecological Fisheries Oceanography Investigations
Channel | Sensor | Make | Model | S/N | Press. Rating (m) | Factory Cal. Date | Field Calibration Information | Install Date
Freq T1 | Temperature, Primary | SBE | SBE 3 | 6177 | 6800 | 2022-01-16 |  | 2023-05-26
Freq C1 | Conductivity, Primary | SBE | SBE 4 | 0369 | 6800 | 2022-01-21 |  | 2023-05-26
Freq Pressure | Pressure, Digiquartz with TC | SBE | SBE 9plus | 533 | 6800 | 2019-09-27 | Offset = -1.0000 | 2023-05-26
Freq T2 | Temperature, 2 | SBE | SBE 3 | 5773 | 6800 | 2022-01-13 |  | 2023-05-26
Freq C2 | Conductivity, 2 | SBE | SBE 4 | 4367 | 6800 | 2022-01-25 |  | 2023-05-26
Aux 1 v0 | Flourometer | WetLabs | FLNTURTD | 5094 | 6000 | 2021-12-20 | Dark Counts = 0.058 volts 26-May-23 | 2023-05-26
Aux 1 v1 | Transmissometer | WetLabs | CST (25 cm) | 1609 | 6000 | 2022-01-12 | M = 21.2267 B = -0.0255 27-May-23 | 2023-05-26
Aux 2 v2 | PAR | Biospherical | QSP2300 | 70777 | 2000 | 2023-01-26 | Constant = 8695652173.91304 Offset = -0.118603592 06-Feb-23 | 2023-02-03
Aux 2 v3 | Free | - | - | - | - | - | - | -
Aux 3 v4 | Dissolved Oxygen, Primary | SBE | SBE 43 | 3706 | 7000 | 2023-02-23 | Sea Bird Equation | 2023-05-26
Aux 3 v5 | Dissolved Oxygen, Secondary | SBE | SBE 43 | 3704 | 7000 | 2023-02-23 | Sea Bird Equation | 2023-05-26
Aux4 v6 | Altimeter | Tritech | PA 200/20 | 322555 | 6000 | 2023-03-22 | Scale Factor = 15 | 2023-06-17
Aux4 v7 | Free | - | - | - | - | - | -
Serial Uplink | Triplet Fluorometer | WetLabs | BBFL | 6919 | 600 | 2021-06-22 | Dark Counts: chl = 51, fdom = 50, scat = 51 26-May-23 | 2023-05-26
Pump 1 | Pump | SBE | SBE 5T | 9599 | 10500 |  |  | 2023-05-26
Pump 2 | Pump | SBE | SBE 5T | 9577 | 10500 |  |  | 2023-05-26
Pylon | Pylon 24 place | SBE | SBE 32 | 1046 | 6800 |  |  | 2023-02-03