## Option 1
PPS (Stevezy) 14-day Intervals |  | PPS (Ned) 14-day Intervals
2023-09-13 | 12:00 | 2023-09-20 | 12:00
2023-09-27 | 12:00 | 2023-10-04 | 12:00
2023-10-11 | 12:00 | 2023-10-18 | 12:00 | Programming Notes: | Justification:
2023-10-25 | 12:00 | 2023-11-01 | 12:00 | A) Flushing volume = 100 ml | The sediment traps at M8 are scheduled to sample at 00:00 on 15-30 day intervals throughout the year. In total, there are ~356, which divided by 48 is 7.4. So I set up the samplers so they'd collect every 2 weeks, on alternating intervals. If the start date needs to be pushed, simply change the start date for Stevezy (A2) and everything will automatically adjust.
2023-11-08 | 12:00 | 2023-11-15 | 12:00
2023-11-22 | 12:00 | 2023-11-29 | 12:00 | B) Sample Volume = 1000 ml
2023-12-06 | 12:00 | 2023-12-13 | 12:00 | C) Pump flow rate = 60 ml/min
2023-12-20 | 12:00 | 2023-12-27 | 12:00 | D) Minimum flow rate = 35 ml/min
2024-01-03 | 12:00 | 2024-01-10 | 12:00 | E) Pump time limit (don't change)
2024-01-17 | 12:00 | 2024-01-24 | 12:00
2024-01-31 | 12:00 | 2024-02-07 | 12:00 | F) Fixative flush = ENABLE
2024-02-14 | 12:00 | 2024-02-21 | 12:00 | G) Total fixative volume = 2000
2024-02-28 | 12:00 | 2024-03-06 | 12:00 | H) 73 ml
2024-03-13 | 12:00 | 2024-03-20 | 12:00
2024-03-27 | 12:00 | 2024-04-03 | 12:00 | P) Don't Change
2024-04-10 | 12:00 | 2024-04-17 | 12:00
2024-04-24 | 12:00 | 2024-05-01 | 12:00
2024-05-08 | 12:00 | 2024-05-15 | 12:00
2024-05-22 | 12:00 | 2024-05-29 | 12:00
2024-06-05 | 12:00 | 2024-06-12 | 12:00
2024-06-19 | 12:00 | 2024-06-26 | 12:00
2024-07-03 | 12:00 | 2024-07-10 | 12:00
2024-07-17 | 12:00 | 2024-07-24 | 12:00
2024-07-31 | 12:00 | 2024-08-07 | 12:00